# ChaosMeeting 2026/07
Date	29/06/2026
Time	20:15
Location	ChaosStuff / nextcloud
Administrative Council Attendees:	virii, orimpe, xbr
Minutes Recording	xbr

## Agenda
- USV
- Meshnet
## Minutes
### USV
The UPS (main) in the Lab broke, when opening it, there was battery acid everywhere.
Replacement one battery did nothing. So we have to buy a seconde replacement battery. (Two batteries are installed.)
We should clean the UPS, its full of acid, according to our guests, gloves are fine.
### Meshnet
Meshnet meeting: 2026-02