ChaosMeeting 2026/07

Date	29/06/2026
Time	20:15
Location	ChaosStuff / nextcloud
Administrative Council Attendees:	virii, orimpe, xbr
Minutes Recording	xbr

Agenda

USV

Meshnet

Minutes

USV

The UPS (main) in the Lab broke, when opening it, there was battery acid everywhere.

Replacement battery did nothing. So we have to buy a new replacement battery.

We should clean the UPS, its full of acid, according to our guests, gloves are fine.

Meshnet

Meshnet meeting: 2026-02